233/3 KASSUJET CONFIDENTIAL

Apart from the usual laboratory fittings, each student should have the following;

- About 0.5g of  Solid Q in a stoppered container

- About 0.5g of Solid R in a stoppered container

- 100cm3 of solution R

- 100cm3 of solution Q

- 100cm3 of solution P

- Distilled water.

- About a spatula end-full of solid Calcium hydroxide

- Red litmus paper

- Three 250ml conical flasks

- One burette 0 – 50ml

- One pipette 25ml

- One 50ml measuring cylinder

- One 10ml measuring cylinder

- One 250cm3 volumetric flask

- Phenolphthalein indicator

- Labels (2)

- Stop watch

- Two boiling tubes

- One metallic spatula

- Five test tubes on a test-tube rack

- Wooden splint

- Test tube holder

The student should also get access to;

- 10% Hydrogen peroxide (freshly prepared + dropper).

- 2M Barium nitrate solution + dropper.

- 0.5M Hydrochloric acid  +  dropper.

- Source of heat.

- Sodium hydrogen carbonate

- Acidified Potassium manganate (VII)

- Acidified Potassium dichromate (VI)

NOTES

Solid Q is Hydrated ferrous ammonium sulphate.

Solid R is Malleic acid

Solution R is prepared by weighing exactly 4.8g of sodium carbonate dissolve it to make 1dm3 of solution.

Solution Q is prepared by weighing exactly 172cm3 of hydrochloric acid (35-37% sp.gr 1.18) and dissolving to make 1dm3 of solution.

Solution P is prepared by weighing exactly 37.2g of sodium thiosulphate pentahydrate and dissolving to make 1dm3 of solution.